## Civil
FITOUT WORKS TO CARREFOUR SAVA AT SPORT SOCIETY, DUBAI, UAE
SECTION 1 - FIT-OUT WORKS
BILL NO. 1 - BUILDERS WORK
|  | pro |  |  |  | R0
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT | QUANTITY | UNIT | RATE | AMOUNT
1 | DEMOLITIONS
2 | Note:
3 | All rates shall include for clearing away debris and rubbish as
4 | the work proceeds and for making good all work disturbed.
5 | The Tenderer is to ensure that he reviews all existing
6 | structural drawings of the existing shopping centre before
7 | demolishing any areas adjacent or inside the existing
8 | shopping centre in order to ensure the safety and integrity
9 | of the existing structure. No claims for failure to do so will be
10 | entertained.
11 | The tenderer shall allow for the preparation of drawings and all
12 | necessary testing of existing installations, to be demolished,
13 | and the reports/drawings shall be submitted to the Engineer,
14 | for approval before commencement of demolitions.
15 | ---------------------------------------------------------------------------------------
16 | Demolition scope of work includes all unforseen items and
17 | tenderer should do all demolition work without any
18 | additional cost
19 | Remove existing block wall including finishes, bracing columns etc without
20 | making any damage to existing structure, mep services and carting away and
21 | disposing of all debris at designated areas as per the drawings and the
22 | specification (refer drawing CEC‑SP249‑AR‑002)
23 | Remove existing blockwall, ref. W02 | 59 | m2 | 100 | 5900 | 27 | m2 | 35 | 945
24 | Remove existing blockwall , ref. DW03 | 27 | m2 | 100 | 2700
25 | Remove sandwich panel walls and ceiling including finishes skirting etc. without
26 | causing any damage to existing structure, mep services and carting away and
27 | disposing of all debris at designated areas as per the drawings and the
28 | specification (refer drawing CEC‑SP249‑AR‑002)
29 | Remove existing sandwich panel wall, ref. W01 | 145 | m2 | 75 | 10875 | 145 | m2 | 35 | 5075
30 | Take up and remove existing floor finishes, making good and preparing floor for
31 | new floor finish (measured elsewhere), carting away and disposing of all the
32 | debris at designated areas as per the drawings and the specification (refer
33 | drawing CEC‑SP249‑AR‑002)
34 | Remove existing floor tiles, ref. FT-01 | 38 | m2 | 25 | 950 | 72 | m2 | 25 | 1800
35 | Remove existing floor tiles , ref. FT-02 | 72 | m2 | 25 | 1800
36 | Take up and remove existing ceiling including suspension systems,
37 | making good and preparing for new ceiling finish (measured elsewhere),
38 | carting away and disposing of all the debris at designated areas
39 | as per the drawings and the specification
40 | (refer drawing CEC‑SP249‑AR‑002)
41 | Remove existing ceiling finishes, ref.C-01 | 25 | m2 | 45 | 1125 | 25 | m2 | 35 | 875
42 | CARRIED TO COLLECTION |  |  | AED | 54425 |  |  | AED | 53226
43 | DEMOLITIONS (cont'd)
44 | Carefully take out existing doors, hardware and replace with block work
45 | (measured elsewhere) and keep safe to reuse, cap and de-energise all wiring to
46 | door and prepare for reuse if required and carting away and disposing of all
47 | debris to designated areas in accordance with the drawings and the specification
48 | (refer drawing CEC‑SP249‑AR‑002)
49 | Remove single leaf door, ref. D-01 | 1 | No | 250 | 250 | 1 | No | 1000 | 1000
50 | Remove single leaf door to replace with new (measured elsewhere) | 1 | No | 250 | 250 | 1 | No | 1000 | 1000
51 | Sundries
52 | Allowance for removal of existing kitchen hood and unwanted MEP services
53 | based on the drawings and the specification (refer drawing CEC‑SP249‑AR‑002) | 1 | Item | 6000 | 6000
54 | Allow to modification of existing façade to insall new sliding door in entrance | 1 | Item | 12500 | 12500 | 1 | Item | 2000 | 2000
55 | CARRIED TO COLLECTION |  |  | AED | 54425 |  |  | AED | 53226
56 | COLLECTION
57 | DEMOLITIONS
58 | MASONRY
59 | Hollow block work bedded and jointed in mortar including bracing beams,
60 | columns, stiffeners, bed joint reinforcement and head restraint as per the
61 | drawings and the specification (refer drawing CEC‑SP249‑AR‑400)
62 | 100mm Thick hollow blockwall, upto 4,750mm high ref. W01 | 109 | m2 | 280 | 30520 | 4 | m2 | 165 | 660
63 | 150mm Thick hollow blockwall,upto 1,500mm high ref. W02 | 4 | m2 | 300 | 1200
64 | 200mm Thick hollow blockwall, upto 3,750mm high ref. W03 | 75 | m2 | 320 | 24000
65 | 100mm Thick hollow blockwall, upto 3,200mm high ref. W04 | 4 | m2 | 280 | 1120
66 | DOORS AND WINDOWS
67 | Metal Doors
68 | Supply and Install two-hour fire rated metal door on and including metal frame,
69 | fixings and sealant, finishes, ironmongery etc. complete as per the drawings
70 | and the specification (refer drawing CEC‑SP249‑AR‑500).
71 | Single leaf door set size 800 x 2,200mm high overall, ref. MD1 (office). | 1 | No | 6000 | 6000 | 1 | No | 5350 | 5350
72 | Supply and Install non fire rated insulated metal door on and including metal
73 | frame, fixings and sealant, finishes, ironmongery etc. complete as per the
74 | drawings and the specification (refer drawing CEC‑SP249‑AR‑500).
75 | Single leaf door set size 1,000 x 2,200mm high overall, ref. MD2 (lockers). | 1 | No | 5500 | 5500
76 | Double leaf double swing door set size 1,600 x 2,200mm high overall,
77 | with vision panel ,ref. MD3 (sales area). | 1 | No | 8500 | 8500 | 1 | No | 8750 | 8750
78 | CARRIED TO COLLECTION |  |  | AED | 54425 |  |  | AED | 53226
79 | DOORS AND WINDOWS (cont'd)
80 | Glass doors
81 | Supply and Install glass doors including frame, fixing sealant, finishes,
82 | ironmongery ,sensor containment for access control,air curtain,interlock with fire
83 | alarm system etc. complete as per the drawings and the specification. (refer
84 | drawing CEC‑SP249‑AR‑500)
85 | Double leaf, sliding door size 1,600 x 3,025mm high | 2 | No | 20000 | 40000 | 2 | No | 18500 | 37000
86 | Glass partitions
87 | Supply and Install 12mm thick glass pocket with aluminium frame, fixing
88 | sealant, finishes, ironmongery etc. complete as per the drawings and the
89 | specification. (refer drawing CEC‑SP249‑AR‑400)
90 | Glass partition 7,369 x 3,025mm high | 1 | No | 9200 | 9200 | 1 | No | 16744 | 16744
91 | CARRIED TO COLLECTION |  |  | AED | 54425 |  |  | AED | 53226
92 | COLLECTION
93 | DOORS AND WINDOWS
94 | FINISHES
95 | Internal Floor Finishes
96 | Supply & install non-slip porcelain vitrified floor tiles with raised non-slip dimple
97 | finish beige colour, laid on existing screed/ concrete screed including approved
98 | adhesive, epoxy grouting, jointing and pointing as per the drawings and the
99 | specification (refer drawing CEC‑SP249‑AR‑701)
100 | Size 300 x 300 x 13mm On floors, ref. FF02 (sales area & bakery) | 121 | m2 | 150 | 18150 | 121 | m2 | 125 | 15125
101 | Skirting
102 | Supply & Install skirting including approved heavy duty adhesive and approved
103 | grout, jointing, pointing as per the drawings and the specification (refer drawing
104 | CEC‑SP249‑AR‑702)
105 | 100mm High normal skirting, ref. ST-01 (open area) | 9 | m | 55 | 495 | 9 | m | 95 | 855
106 | Supply & Install by RAK-A cove -GP-21 SG skirting with 4mm thick avg.
107 | Laticrete 325 adhesive + approved epoxy grout in approved colour including
108 | jointing, pointing as per the drawings and the specification (refer drawing
109 | CEC‑SP249‑AR‑702)
110 | 100mm High coved skirting, ref. ST-02 ( pantry,bakery ) | 12 | m | 95 | 1140 | 12 | m | 100 | 1200
111 | CARRIED TO COLLECTION |  |  | AED | 54425 |  |  | AED | 53226
112 | FINISHES (contd.)
113 | Seperation joint
114 | Divider strip, 3 or 4mm thick including fixing, fittings, finishes, etc.complete as
115 | per drawings and the specification (refer drawing CEC‑SP249‑AR‑701)
116 | Between different floor tiles | 29 | m | 200 | 5800 | 29 | m | 85 | 2465
117 | Sundries
118 | Allowance for replacement and maintenance of damaged floor tiles within the
119 | store. Restoration of floor tiles and alignment in checkout counters as per the
120 | drawings and the specification (refer drawing CEC‑SP249‑AR‑701) | 1 | Item | L/S | 7500
121 | CARRIED TO COLLECTION |  |  | AED | 54425 |  |  | AED | 53226
122 | Internal Wall Finishes
123 | Cement and sand plaster to existing insitu concrete or block work
124 | as per the drawings and the specification (refer drawing CEC‑P496‑AR‑703)
125 | Fair faced cement plaster to receive paint finishes, ref. PL01, PL02, PL04 | 263 | m2 | 55 | 14465 | 263 | m2 | 65 | 17095
126 | Sand cement plaster to receive tile finishes, ref. PL03 | 14 | m2 | 55 | 770 | 14 | m2 | 65 | 910
127 | Approved wall tiles with proper backing, fixed with latecret 254 platinum
128 | adhesive, epoxy grouting, glue, all fixing materials, jointed and pointed as per the
129 | drawings and the specification (refer drawing CEC‑P496‑AR‑704)
130 | On plastered wall, ref. WF-01 (bakery) | 14 | m2 | 150 | 2100 | 14 | m2 | 125 | 1750
131 | On existing wall, ref. WF01(bakery) | 22 | m2 | 150 | 3300 | 22 | m2 | 125 | 2750
132 | Sundries
133 | Allow for supplying spare tiles for floor, wall & skirting to the
134 | Employer. (5% of each tile & skirting type with all fixing materials) | 1 | Item | 1500 | 1500 | 1 | Item | 1500 | 1500
135 | CARRIED TO COLLECTION |  |  | AED | 54425 |  |  | AED | 53226
136 | Ceiling Finishes
137 | Approved 600 x 600mm metal ceiling tiles (concealed perforated type)
138 | with approved 12.5mm moisture proof gypsum board periphery liner with
139 | 2 coats of emulsion paint finish in RAL 9010 (matt) and 2" acoustic liner back up
140 | including proprietary metal ceiling suspension system, all accessories,
141 | shadow gaps, etc., complete as per the drawings and the specification
142 | (refer drawing CEC‑SP249‑AR‑705)
143 | Horizontal ceiling, ref: CF01 | 34 | m2 | 150 | 5100 | 14 | m2 | 325 | 4550
144 | 80mm freezer sandwich cold panel including suspension system, fixing
145 | accessories, fittings, shadow gap, etc. complete. as per drawing and the
146 | specification. (refer drawing CEC‑SP249‑AR‑705)
147 | Horizontal ceiling, ref: RCF1 | 14 | m2 | 1200 | 16800
148 | Supply & install 12.5mm gypsum board bulkhead on metal framing to receive
149 | paint ,including fixing, fittings, accessores etc. complete. as per the drawing and
150 | the specification. (refer drawing CEC‑SP249‑AR‑705)
151 | Vertical bulkhead (2,350mm high ) | 8 | m | L/S | 2000 | 8 | m | 285 | 2280
152 | CARRIED TO COLLECTION |  |  | AED | 54425 |  |  | AED | 53226
153 | Internal Decoration
154 | Prepare and apply base, initial coat, two finishing coats of approved emulsion
155 | water based paint finish (semi glossy) paint washable type on walls, bulkhead as
156 | per the drawings and the specification (refer drawing
157 | CEC-SP249-AR-704,CEC-SP249-706)
158 | To existing walls, ref. WF-02 (pantry,lockers) | 48 | m2 | 35 | 1680 | 48 | m2 | 30 | 1440
159 | To newly plastered walls, ref. WF-02 (pantry,lockers) | 34 | m2 | 35 | 1190 | 34 | m2 | 30 | 1020
160 | To existing walls, ref. WF-03 (sales area) | 403 | m2 | 35 | 14105 | 403 | m2 | 30 | 12090
161 | To gypsum board bulkhead,ref.CF-02 | 19 | m2 | 35 | 665 | 19 | m2 | 30 | 570
162 | To plastered walls, ref. WF-03 (sales area) | 86 | m2 | 35 | 3010 | 86 | m2 | 30 | 2580
163 | Prepare and apply base, initial coat, two finishing coats of water based paint
164 | finish paint washable type on walls, as per the drawings and the specification
165 | (refer drawing CEC-SP249-AR-704)
166 | To plastered walls, ref. WF-03 (sales area) | 86 | m2 | 35 | 3010 | 86 | m2 | 30 | 2580
167 | Prepare and apply base, initial coat paint on ceiling as per the drawings and the
168 | specification (refer drawing CEC‑SP249‑AR‑706)
169 | To existing ceiling, ref. CF02 (customer sales area) | 822 | m2 | 35 | 28770 | 822 | m2 | 38 | 31236
170 | CARRIED TO COLLECTION |  |  | AED | 54425 |  |  | AED | 53226
171 | COLLECTION
172 | FINISHES
173 | ACCESSORIES
174 | Partitions
175 | Supply and install gypsum partition including framing, fixing, fittings, flush
176 | skim plastered joints, rock wool insulation to receive paint finish (measured
177 | elsewhere) complete as per the drawings and the specification. (refer drawing
178 | CEC-SP249-AR-400)
179 | Wall partition upto 1,750mm high ,ref.W03 (sublease shop) | 88 | m2 | 150 | 13200 | 88 | m2 | 135 | 11880
180 | Protective Accessories
181 | Protective accessories including all necessary fixing,finishes, etc. as per the
182 | drawings and the specification (refer drawing CEC-SP249-AR-800)
183 | Side wall protection in heavy duty industrial aluminium chequered sheet
184 | 2.5mm thick upto 1,200mmm high, ref. WP | 17 | m | 600 | 10200 | 17 | m | 425 | 7225
185 | Stainless steel trolley protection 50mm dia upto 900mm, ref. TP | 34 | m | 800 | 27200 | 4 | m | 700 | 2800
186 | Stainless steel trolley protection 50mm upto 300mm high dia, ref. TP1 | 4 | m | 800 | 3200
187 | Stainless steel refigeration cabinet protection 50mm upto 300mm high, ref. RP | 37 | m | 800 | 29600 | 37 | m | 700 | 25900
188 | Corner protection in heavy duty aluminium powder coated corner angle in RAL
189 | 9005 25mm x 25mm for all corners of door for sales area columns, ref.C1 | 33 | No | 250 | 8250 | 33 | No | 185 | 6105
190 | Pantry cabinets
191 | Supply and install pantry cabinets including counter top, fixing, fittings,
192 | finishes etc., complete as per the drawings and the specification
193 | Overall cabinet size -1,700 x 600mm wide | 1 | No | 7500 | 7500 | 1 | No | 6850 | 6850
194 | SUNDRY/GENERAL ITEMS
195 | Allow for permits, fees, inspection associated with the builders
196 | works installations by utility and statutory authorities & approvals | 1 | Item | L/S | 25000 | 1 | Item | 18000 | 18000
197 | Allow for authority co-ordinatiion and approval for all civil related works | 1 | Item | L/S | 10000 | 1 | Item | 3500 | 3500
198 | COLLECTION

## PL
SECTION 1 - FIT-OUT WORKS
BILL NO. 2 - PLUMBING WORKS
|  | pro |  |  |  | R0
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT | QUANTITY | UNIT | RATE | AMOUNT
1 | PLUMBING INSTALLATIONS
2 | DEMOLITIONS
3 | NOTE:
4 | Tenderers are to note that the onus lies with them to
5 | assess and establish the exact extent of all existing
6 | electro-mechanical systems constructed and to allow for
7 | the removal, alteration, relocation, etc, of unnecessary
8 | and all new installations required to ensure that the new fit-out
9 | conforms to the exact requirements and specifications as intended.
10 | Note: All mechanical items must be in compliance with MAF
11 | zero sustainabilty policy
12 | Allow for cut and removal of drainage system pipeworks, accessories,
13 | equipment, Sanitary fixtures, etc., as shown on drawings/as per
14 | modification requirements and carting away and disposing all debris to
15 | designated areas | 1 | Item | L/S | 2500 | 1 | Item | 3500 | 3500
16 | Allow for cut and removal of water supply system pipeworks, accessories,
17 | equipment, Sanitary fixtures etc., as shown on drawings/as per
18 | modification requirements and carting away and disposing all debris to
19 | designated areas | 1 | Item | L/S | 2500 | 1 | Item | 3500 | 3500
20 | Drainage system
21 | Supply and installation of drainage pipes, including supports, | [7 empty] | 0
22 | fittings, fixings, injection to seal the gaps, accessories, etc., | [7 empty] | 0
23 | as per the drawings and the specification. (refer drawing CEC-SP249-DR-01) | [7 empty] | 0
24 | 50mm Diameter waste pipe | 6 | m | 250 | 1500 | 6 | m | 115 | 690
25 | 82mm Diameter waste pipe | 6 | m | 280 | 1680
26 | Supply and installation of Condensate drain pipes;including supports,
27 | fittings, fixings, injection to seal the gaps, insulation accessories, etc.,
28 | as per the drawings and the specification to connect with the | [7 empty] | 0
29 | AC and refrigeration equipment's. (refer drawing CEC-SP249-DR-01) | [7 empty] | 0
30 | 25 mm Diameter | 13 | m | 220 | 2860 | 3 | No | 38 | 114
31 | 50 mm Diameter | 25 | m | 250 | 6250
32 | 82 mm Diameter | 46 | m | 280 | 12880
33 | CARRIED TO COLLECTION |  |  | AED | 17250 |  |  | AED | 13954
34 | Drainage system (cont'd)
35 | Supply and installation of following accessories including Clean Out;
36 | FCO,cutting/chasing through existing concrete floor slab as
37 | necessary, excavation, back filling, fittings and fixings as per
38 | the drawings and the specification. (refer drawing CEC-SP249-DR-01)
39 | Floor trap, Ref. FT | 3 | No | 300 | 900 | 3 | No | 550 | 1650
40 | Clean outlet, Ref. CO | 1 | No | 500 | 500 | 1 | No | 650 | 650
41 | Floor clean out,ref.FCO | 3 | No | 400 | 1200 | 3 | No | 1250 | 3750
42 | U trap, Ref. UT | 5 | No | 400 | 2000 | 5 | No | 800 | 4000
43 | Sundries | [7 empty] | 0
44 | Allowance for connecting new drainage system to existing | [7 empty] | 0
45 | drainage system as per the drawings and specifications. | 1 | Item | 1000 | 1000 | 1 | Item | 3500 | 3500
46 | Allow for checking for leakage and rectification in all cold storage areas | 1 | Item | 5000 | 5000 | 1 | Item | 2500 | 2500
47 | Allow for all necessary coring with slab scanning through existing | [7 empty] | 0
48 | concrete slabs, beams, etc., related to all MEP works as per the | [7 empty] | 0
49 | drawings and specification | 1 | Item | 9500 | 9500 | 1 | Item | 4500 | 4500
50 | CARRIED TO COLLECTION |  |  | AED | 17250 |  |  | AED | 13954
51 | Water supply Installation
52 | Supply and installation of filtered water/cooled cold water PPR pipeworks with
53 | relevant standards including all valves, all necessary fittings, fixings,
54 | accessories, supports, blanked connections, etc., complete as per
55 | the drawings and the specification. (refer drawing CEC-SP249-WS-01)
56 | 20mm Diameter cooled water supply pipe | 10 | m | 180 | 1800 | 30 | m | 45 | 1350
57 | 25mm Diameter cooled water supply pipe | 30 | m | 200 | 6000
58 | Supply and installation of Hot water PPR pipeworks with relevant | [7 empty] | 0
59 | standards including all necessary fittings, fixings, valves, | [7 empty] | 0
60 | accessories, insulation, supports and blanked connections complete | [7 empty] | 0
61 | as per the drawings and the specifications. | [7 empty] | 0
62 | (refer drawing CEC-SP249-WS-01) | [7 empty] | 0
63 | 25mm Diameter | 13 | m | 200 | 2600
64 | Saniatry ware and accessories | [7 empty] | 0
65 | Supply and Install sanitary ware and accessories as per the drawings | [7 empty] | 0
66 | and the specifications | [7 empty] | 0
67 | Pantry sink | 1 | No | 1000 | 1000 | 1 | No | 2850 | 2850
68 | CARRIED TO COLLECTION |  |  | AED | 17250 |  |  | AED | 13954
69 | Water supply Installation (cont'd)
70 | Supply and installation of isolation valves as per the drawings and the
71 | specification. (refer drawing CEC-SP249-WS-01)
72 | 20mm Diameter IV | 3 | No | 250 | 750 | 3 | No | 30 | 90
73 | 25mm Diameter IV | 3 | No | 300 | 900
74 | Supply and installation of water meter as per the | [7 empty] | 0
75 | drawings and the specification. (refer drawing CEC-SP249-WS-01)
76 | Smart water meter with two valves | 1 | No | 6500 | 6500 | 1 | No | 3850 | 3850
77 | Supply and install Water heater including all necessary fittings as per | [7 empty] | 0
78 | the drawings and specifications. (refer drawing CEC-SP249-WS-01)
79 | Water heater, Ref. WH 50L | 1 | No | 1100 | 1100 | 1 | No | 1850 | 1850
80 | Supply and install accessories including all necessary fittings as per
81 | the drawings and specifications. (refer drawing CEC-SP249-WS-01)
82 | Hot and cold water mixer points | 2 | No | 800 | 1600 | 2 | No | 1250 | 2500
83 | Hose bib | 1 | No | 800 | 800 | 1 | No | 350 | 350
84 | Water hammer arrestors | 2 | No | 1000 | 2000 | 2 | No | 450 | 900
85 | Bib tap with hose dock | 2 | No | 800 | 1600 | 2 | No | 400 | 800
86 | Sundries | [7 empty] | 0
87 | Allow for connecting the water supply pipes to the existing | [7 empty] | 0
88 | water main pipes | 1 | Item | 1000 | 1000 | 1 | Item | 1500 | 1500
89 | Allow for minor modifications to the existing toilet as per drawings and | [7 empty] | 0
90 | specifications | 1 | item | 1000 | 1000 | 1 | item | 2000 | 2000
91 | CARRIED TO COLLECTION |  |  | AED | 17250 |  |  | AED | 13954
92 | COLLECTION
93 | Plumbing Works

## FF
SECTION 1 - FIT-OUT WORKS
BILL NO. 3 - FIRE PROTECTION WORKS
|  | pro |  |  |  | R0
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT | QUANTITY | UNIT | RATE | AMOUNT
1 | FIRE PROTECTION INSTALLATIONS
2 | (All the fire installations should be as per the current CDA
3 | requirements and all the fire systems should have compatibility
4 | with fire alarm, BMS, Smoke Management systems and also
5 | with all other Building Automation system.)
6 | NOTE:
7 | Tenderers are to note that the onus lies with them to
8 | assess and establish the exact extent of all existing
9 | electro-mechanical systems constructed and to allow for
10 | the removal, alteration, relocation, etc, of unnecessary
11 | and all new installations required to ensure that the new fit-out
12 | conforms to the exact requirements and specifications as intended.
13 | Note: All mechanical items must be in compliance with MAF
14 | zero sustainabilty policy
15 | Allow for cut and removal of existing fire protection system
16 | pipeworks, accessories, equipments as shown on drawings/as
17 | per modification requirements. | 1 | Item | 1500 | 1500 | 1 | Item | 3500 | 3500
18 | Fire protection system
19 | Sprinkler system galvanised steel pipe ERW schedule 40 Grade-B to
20 | ASTM A53 standard schedule 40 pipes and fittings including all
21 | necessary valves, fixings, painting, accessories and supports as per
22 | drawings and specification. (refer drawing CEC-SP249-FF-01)
23 | 25 mm Dia pipe | 6 | m | 250 | 1500 | 6 | m | 125 | 750
24 | 32 mm Dia pipe | 1 | m | L/S | 1000
25 | 65 mm Dia pipe | 6 | m | 320 | 1920
26 | Supply and install sprinklers, including all fittings and fixtures,
27 | in accordance with the drawings and the specification
28 | (refer drawing CEC-SP249-FF-01) | [7 empty] | 0
29 | (New sprinklers must be same rating as existing)
30 | Quick respond 1/2" pendent sprinkler head. 68'C | 3 | No | 550 | 1650 | 3 | No | 145 | 435
31 | Sundries | [7 empty] | 0
32 | Allow for connecting new fire protection system with existing fire | [7 empty] | 0
33 | protection system as per the drawings and specifications. | 1 | Item | 2500 | 2500 | 1 | Item | 1500 | 1500
34 | CARRIED TO COLLECTION |  |  | AED | 25400 |  |  | AED | 11000
35 | FIRE PROTECTION INSTALLATIONS (cont'd)
36 | Fire Protection Services
37 | Equipment including all necessary fittings, fixings,
38 | accessories and supports as per the drawings and specification.
39 | (refer drawing CEC-SP249-FF-01) | [7 empty] | 0
40 | 5kg DCP fire extinguisher | 1 | No | 500 | 500 | 1 | No | 250 | 250
41 | 5kg CO2 fire extinguisher | 1 | No | 400 | 400
42 | Fire hose cabinet,ref FHCS | 1 | No | 9000 | 9000 | 1 | No | 6500 | 6500
43 | Sundries | [7 empty] | 0
44 | Allow for mofiication of sprinkler lines and sprinklers as per drawings and | [7 empty] | 0
45 | specifications | 1 | Item | 12500 | 10500 | 1 | Item | 2500 | 2500
46 | Allow for relocation of existing fire house cabinet with WRP pipe | 1 | Item | 5000 | 5000 | 1 | Item | 1500 | 1500
47 | CARRIED TO COLLECTION |  |  | AED | 25400 |  |  | AED | 11000
48 | COLLECTION
49 | Fire Protection Works

## HVAC
SECTION 1 - FIT-OUT WORKS
BILL NO. 4 - MECHANICAL WORKS
|  | pro |  |  |  | R0
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT | QUANTITY | UNIT | RATE | AMOUNT
1 | MECHANICAL ENGINEERING INSTALLATIONS
2 | NOTE:
3 | Tenderers are to note that the onus lies with them to
4 | assess and establish the exact extent of all existing
5 | electro-mechanical systems constructed and to allow for
6 | the removal, alteration, relocation, etc, of unnecessary
7 | and all new installations required to ensure that the new fit-out
8 | conforms to the exact requirements and specifications as intended.
9 | Note: All mechanical items must be in compliance with MAF
10 | zero sustainabilty policy
11 | Allow for cut and removal of existing HVAC system pipeworks,
12 | duct works, accessories, equipment as shown on drawings/as
13 | per modification requirements. | 1 | Item | 5500 | 5500 | 1 | Item | 7500 | 7500
14 | Chilled Water System Installations
15 | Chilled water piping, fittings, supports in accordance with the
16 | drawings and specification. Pipes to specification;ERW mild
17 | steel to ASTM or A53; SCH 40 Grade B including all fittings,
18 | valves, drain cocks, strainers, gauges, insulation, etc. per the
19 | drawings; Pipes in diameter; (Note-Valve set for FAHU/FCUs,etc.
20 | have been included with relevant equipment description and
21 | other valves to included with the rates of pipes).
22 | (refer drawing CEC-SP249-AC-01) | [7 empty] | 0
23 | 25mm diameter | 26 | m | 120 | 3120 | 29 | m | 190 | 5510
24 | 32mm diameter | 29 | m | 150 | 4350
25 | Allow for valve package along chilled water pipes including all fittings, | [7 empty] | 0
26 | fixing, etc., complete as required | 1 | Item | 9500 | 9500 | 1 | Item | 3500 | 3500
27 | Sundries | [7 empty] | 0
28 | Allow for connecting new chilled water pipes to the existing chilled | [7 empty] | 0
29 | water pipes as per the drawing. | 1 | Item | 25000 | 25000 | 1 | Item | 4000 | 4000
30 | Allow for chemical flushing of chilled water pipes, chilled water | [7 empty] | 0
31 | balancing and third party certification. | 1 | Item | 15000 | 15000 | 1 | Item | 8500 | 8500
32 | Allow for checking chilled water pipes for leakages, rectify leakages and | [7 empty] | 0
33 | add new insulation on all chilled water pipes as notes given in the drawing. | 1 | Item | 17500 | 17500 | 1 | Item | 4500 | 4500
34 | CARRIED TO COLLECTION |  |  | AED | 2500 |  |  | AED | 4800
35 | Air conditioning system as per the drawings and the specification
36 | Supply and Install ductwork and specialties complete with
37 | insulation, protective cladding as required, bellmouth opening, wire mesh,
38 | plenum box, fittings, splitter, fire, volume control and other
39 | dampers, supports for ducts, etc complete in accordance with the
40 | drawings and the specification. (refer drawing CEC-SP249-AC-01)
41 | Supply and return air ducts | 22 | m2 | 200 | 4400 | 22 | m2 | 235 | 5170
42 | Allow for flexible duct as per the drawings and specification | 1 | Item | 2000 | 2000 | 1 | Item | 2100 | 2100
43 | Allow for rectification of all bended flexible ducts and air leakages as notes | [7 empty] | 0
44 | given in the drawing. | 1 | Item | 15000 | 15000 | 1 | Item | 6500 | 6500
45 | Air conditioning equipment | [7 empty] | 0
46 | Fan Coil units including fans, air filters, all valves, strainers, controls, | [7 empty] | 0
47 | thermostats including connections/interfacing to existing controls and | [7 empty] | 0
48 | instruments,cooling coils, thermal and acoustic insulation,sound | [7 empty] | 0
49 | attenuators, connections to electrical equipment, connections to | [7 empty] | 0
50 | pipework and ductwork; mounting structure & supports, steel frames | [7 empty] | 0
51 | as described. (refer drawing CEC-SP249-AC-01, AC-03) | [7 empty] | 0
52 | Fan coil unit, 842L/s, Ref.FCU-GF-01 | 1 | No | 14500 | 14500 | 1 | No | 8500 | 8500
53 | Fan coil unit, 842L/s, Ref.FCU-GF-02 | 1 | No | 14500 | 14500
54 | Fan coil unit, 842L/s, Ref.FCU-GF-03 | 1 | No | 14500 | 14500
55 | Sundries | [7 empty] | 0
56 | Allow for general maintenance of all existing FCU's | 1 | Item | 7500 | 7500 | 1 | Item | 6000 | 6000
57 | CARRIED TO COLLECTION |  |  | AED | 2500 |  |  | AED | 4800
58 | Air conditioning system (Cont'd)
59 | Supply and Install grilles and diffusers as per the drawing and specifications. | [7 empty] | 0
60 | (refer drawing CEC-SP249-AC-01) | [7 empty] | 0
61 | 300 x 300mm Supply air diffuser | 3 | No | 320 | 960 | 3 | No | 300 | 900
62 | 375 x 375mm Supply air diffuser | 1 | No | 400 | 400 | 1 | No | 430 | 430
63 | 300 x 300mm Return air diffuser | 1 | No | 300 | 300 | 1 | No | 280 | 280
64 | 375 x 375mm Return air diffuser | 1 | No | 380 | 380 | 1 | No | 410 | 410
65 | 500 x 150 Supply air grille | 1 | No | 400 | 400 | 1 | No | 650 | 650
66 | 225 x 225 Supply air grille | 1 | No | 290 | 290 | 1 | No | 325 | 325
67 | 225 x 225 Reaturn air grille | 1 | No | 280 | 280 | 1 | No | 315 | 315
68 | Decorative Grill with bell mouth | 4 | No | 1200 | 4800 | 4 | No | 300 | 1200
69 | Sundries | [7 empty] | 0
70 | Allow for connecting new ducts to existing ducts as per the drawings | [7 empty] | 0
71 | and specification. | 1 | Item | 5000 | 5000
72 | Allow for relocation of existing Fan coil units and air curtains as per drawings | [7 empty] | 0
73 | and specifications | 1 | item | 5500 | 5500
74 | CARRIED TO COLLECTION |  |  | AED | 2500 |  |  | AED | 4800
75 | Ventilation and Exhaust air system as per the drawings
76 | and the specification
77 | Supply and install ducts and specialities including insulation,
78 | bellmouth opening, wire mesh, fittings, splitter, dampers, cladding, supports
79 | for ducts, painting, etc complete in accordance with the drawings
80 | and the specification. (refer drawing CEC-SP249-AC-02, AC-03)
81 | Exhaust air ducts | 4 | m2 | 400 | 1600 | 4 | m2 | 430 | 1720
82 | Allow for flexible duct as per the drawings and specification | 1 | Item | 2000 | 2000 | 1 | Item | 2100 | 2100
83 | Supply and Install grilles and diffusers as per the drawing and specifications. | [7 empty] | 0
84 | (refer drawing CEC-SP249-AC-02)
85 | Extract air grille- 400x350mm | 2 | No | 500 | 1000 | 2 | No | 350 | 700
86 | NRD- Non return damper | 1 | No | 850 | 850 | 1 | No | 450 | 450
87 | VCD- Volume control damper | 4 | No | 250 | 1000 | 4 | No | 200 | 800
88 | Sundries | [7 empty] | 0
89 | Allow for connecting new duct lines to existing ductlines | 1 | Item | 1500 | 1500 | 1 | Item | 1800 | 1800
90 | Allow for air balancing of AC and Ventilation system. | 1 | Item | 5500 | 5500 | 1 | Item | 3500 | 3500
91 | CARRIED TO COLLECTION |  |  | AED | 2500 |  |  | AED | 4800
92 | SUNDRY/GENERAL ITEMS ( Applicable for Plumbing, Fire protection and HVAC installations)
93 | Allow for providing fire stopping sealants on pipes, ducts etc for all | [7 empty] | 0
94 | Mechanical services crossing fire rates walls/slabs | 1 | Item | 1500 | 1500 | 1 | Item | 2800 | 2800
95 | Allow for testing and commissioning, demonstration, trainings & | [7 empty] | 0
96 | handover to operation/store team. | 1 | Item | 1000 | 1000 | 1 | Item | 2000 | 2000
97 | CARRIED TO COLLECTION |  |  | AED | 2500 |  |  | AED | 4800
98 | COLLECTION
99 | Mechanical Works

## Electrical
SECTION 1 - FIT-OUT WORKS
BILL NO. 5 - ELECTRICAL WORKS
|  | pro |  |  |  | R0
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT | QUANTITY | UNIT | RATE | AMOUNT
1 | ELECTRICAL ENGINEERING INSTALLATIONS
2 | NOTE:
3 | Tenderers are to note that the onus lies with them to
4 | assess and establish the exact extent of all existing
5 | electro-mechanical systems constructed and to allow for
6 | the removal, alteration, relocation, etc, of unnecessary
7 | and all new installations required to ensure that the new fit-out
8 | conforms to the exact requirements and specifications as intended.
9 | Tenderers shall verify all existing electrical installations at site
10 | and all required modifications to existing shall be included in
11 | his price without additional cost.
12 | Note: All electrical items must be in compliance with MAF
13 | zero sustainabilty policy
14 | Demolition
15 | Allow for any removal, alteration, re-location, etc. of existing power
16 | system and make good as per the drawings and specification | 1 | Item | L/S | 2000 | 1 | Item | 8500 | 8500
17 | Distribution panels
18 | Replace/Modify existing DB's and SMBD's including cables, containments
19 | accessories, fittings, all related works to complete work as per the drawings
20 | and the specification (refer drawing CEC‑SP249‑PD‑02) Note: The contractor
21 | shall allow for the provision of a new DB if modification of the existing
22 | DB is deemed not feasible based on site assessment.
23 | Modify existing SMDB-CF 385 KW | 1 | No | 8500 | 8500 | 1 | No | 3000 | 3000
24 | Modify existing DB-L .35.72KW | 1 | No | 3000 | 3000 | 1 | No | 3000 | 3000
25 | Modify existing DB-P1 38.81KW | 1 | No | 3000 | 3000 | 1 | No | 3000 | 3000
26 | Modify existing DB-P2 8KW | 1 | No | 3000 | 3000
27 | Modify existing DB-AC.34KW | 1 | No | 3000 | 3000
28 | Modify existing DB-UPS.16.40KW | 1 | No | 3000 | 3000 | 1 | No | 3000 | 3000
29 | DB-REF (NEW) | 1 | No | 6000 | 6000 | 1 | No | 6500 | 6500
30 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
31 | Isolators, etc.
32 | Supply and Installation of cables/wiring including containment
33 | to followings as per the drawings and specification
34 | (Contractor shall include cables, accessories and Containment etc. as
35 | required from Distribution boards to Isolators and Isolators to relevant
36 | equipment in their price for below items. Actual Isolator device
37 | must be price separately under Isolators)
38 | (Refer drawings CEC-SP249-PD-01)
39 | Cable to 20A, 2P isolator | 20 | No | 700 | 14000 | 1 | No | 600 | 600
40 | Cable to 20A, 4P isolator | 2 | No | 900 | 1800 | 1 | No | 850 | 850
41 | Cable to 32A, 4P isolator | 1 | No | 1200 | 1200
42 | Cable to 40A, 4P isolator | 1 | No | 1500 | 1500
43 | Cable to 63A, 4P isolator | 1 | No | 1800 | 1800
44 | Supply and Installation of Isolators as per the drawings and specification
45 | (Refer drawings CEC-SP249-PD-01)
46 | Cable to 20A, 2P isolator | 20 | No | 700 | 14000 | 1 | No | 600 | 600
47 | Cable to 20A, 4P isolator | 2 | No | 900 | 1800 | 1 | No | 850 | 850
48 | Cable to 32A, 4P isolator | 1 | No | 1200 | 1200
49 | Cable to 40A, 4P isolator | 1 | No | 1500 | 1500
50 | Cable to 63A, 4P isolator | 1 | No | 1800 | 1800
51 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
52 | Power Accessories
53 | Supply and install accessories including wiring in PVC insulated
54 | copper cable enclosed in GI containment and trunking complete as
55 | described. (refer drawing CEC-SP249-PD-01)
56 | 13A single switched socket (DP) outlet | 12 | No | 350 | 4200 | 6 | No | 650 | 3900
57 | 13A dual switched socket (DP) outlet | 16 | No | 450 | 7200
58 | 15A single switched socket (DP) outlet | 6 | No | 600 | 3600
59 | Switched fused spur outlet with neon indicator for FCU | 3 | No | 800 | 2400 | 3 | No | 450 | 1350
60 | 20A flex O/L for water heater Water heater | 1 | No | 450 | 450 | 1 | No | 400 | 400
61 | 20A DP switch with neon indicator & purpose engraved on it | 1 | No | 800 | 800 | 1 | No | 450 | 450
62 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
63 | Lighting Installation
64 | Demolition
65 | Allow for removal and handing over of existing lighting and make
66 | good as per the drawings and the specification | 1 | Item | 7500 | 7500
67 | Supply and install all necessary wiring, modification to suit the new layout
68 | drawing as described to the following.
69 | (refer drawing CEC-SP249-LI-01 , CEC-SP249-EM-01)
70 | General light points | 13 | No | 150 | 1950 | 13 | No | 1050 | 13650
71 | Emergency light points | 2 | No | 150 | 300 | 2 | No | 550 | 1100
72 | PIR sensor points | 5 | No | 200 | 1000 | 5 | No | 450 | 2250
73 | Supply and install Switch accessories complete with wiring
74 | box and switch plate as described. (refer drawing CEC-SP249-PD-01)
75 | PIR sensor | 5 | No | 300 | 1500 | 5 | No | 200 | 1000
76 | Plug in type ceiling rose | 41 | No | 250 | 10250 | 41 | No | 350 | 14350
77 | Supply only the following Light fittings including all accessories
78 | as per the drawings and specification. (refer drawing CEC-SP249-LI-01)
79 | 36W 600 x 600mm LED recessed mounted light, IP 44,4000K | 10 | No | 50 | 500 | 10 | No | 65 | 650
80 | 47W LED light, 1275mm long, IP-67 | 6 | No | 50 | 300 | 6 | No | 65 | 390
81 | 47W LED suspended light , 1275mm long, IP-44 | 13 | No | 50 | 650 | 13 | No | 65 | 845
82 | 30W, 4000k, LED trunk light with standard high voltage track system, ref. LH | 56 | No |  | By others | 26 | No |  | By others
83 | 30W, 4000K, LED trunk light with standard high voltage track system, ref,
84 | LP-1 | 14 | No |  | By others | 14 | No |  | By others
85 | 30W, 4000K, LED trunk light with standard high voltage track system, ref, LP | 26 | No |  | By others
86 | 40W, 4000K, LED track spot light, ref. T1-1 | 48 | No |  | By others | 67 | No |  | By others
87 | 40W, 3000K, LED track spot light, ref. T2-1 | 37 | No |  | By others
88 | 28W, 4000K, LED track spot light, ref. T3-1 | 67 | No |  | By others
89 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
90 | Lighting Installation (Cont'd)
91 | Installation and Connection only the following Light fittings
92 | including all accessories as per the drawings and specification
93 | (refer drawing CEC-SP249-LI-01)
94 | 36W 600 x 600mm LED recessed mounted light, IP 44,4000K | 10 | No | 50 | 500 | 10 | No | 65 | 650
95 | 47W LED light, 1275mm long, IP-67 | 6 | No | 50 | 300 | 6 | No | 65 | 390
96 | 47W LED suspended light , 1275mm long, IP-44 | 13 | No | 50 | 650 | 13 | No | 65 | 845
97 | 30W, 4000k, LED trunk light with standard high voltage track system, ref. LH | 56 | No |  | By others | 26 | No |  | By others
98 | 30W, 4000K, LED trunk light with standard high voltage track system, ref,
99 | LP-1 | 14 | No |  | By others | 14 | No |  | By others
100 | 30W, 4000K, LED trunk light with standard high voltage track system, ref, LP | 26 | No |  | By others
101 | 40W, 4000K, LED track spot light, ref. T1-1 | 48 | No |  | By others | 67 | No |  | By others
102 | 40W, 3000K, LED track spot light, ref. T2-1 | 37 | No |  | By others
103 | 28W, 4000K, LED track spot light, ref. T3-1 | 67 | No |  | By others
104 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
105 | Lighting Installation (Cont'd)
106 | Emergency Lighting Installation
107 | Supply and install Emergency light fittings including fixings, accessories
108 | lamps and connections complete as per the drawings and specification. (refer
109 | drawing CEC-SP249-EM-01)
110 | 8W Recessed mounted emergency light, self contained battery, ref. E1 | 3 | No | 1050 | 3150 | 3 | No | 450 | 1350
111 | 8W wall mounted type exit light | 2 | No | 1250 | 2500 | 2 | No | 550 | 1100
112 | 8W wall/ hanging mounted type exit light, double directional | 5 | No | 1250 | 6250 | 5 | No | 550 | 2750
113 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
114 | Telephone and Data Installation
115 | Supply and install containment only for Data system as per the
116 | drawings and the specification.(this includes all containments but not
117 | limited to cable trays, trunking, conduits, wiring as required)
118 | (equipmemts, devices, sensors and alike by carrefour security team)
119 | (refer drawing CEC-SP249-TD-01)
120 | RJ 45 single outlet | 2 | No |  | By others | 2 | No |  | By others
121 | RJ 45 dual outlet | 12 | No |  | By others | 12 | No |  | By others
122 | WIFI aceess point 2 Nos data outlet | 3 | No |  | By others | 3 | No |  | By others
123 | Data rack cabinet | 1 | No |  | By others | 1 | No |  | By others
124 | Optical network cabinet | 1 | No |  | By others | 1 | No |  | By others
125 | Suppy, Installation, testing and commissioning of Equipment complete
126 | as per the drawings and specification
127 | RJ 45 single outlet | 2 | No |  | By others | 2 | No |  | By others
128 | RJ 45 dual outlet | 12 | No |  | By others | 12 | No |  | By others
129 | WIFI aceess point 2 Nos data outlet | 3 | No |  | By others | 3 | No |  | By others
130 | Data rack cabinet | 1 | No |  | By others | 1 | No |  | By others
131 | Optical network cabinet | 1 | No |  | By others | 1 | No |  | By others
132 | Supply and install cable trunking as per the drawings and the specification
133 | (refer drawing CEC-SP249-TD-01)
134 | 100 x 50mm GI trunking | 59 | m | 120 | 7080 | 14 | m | 125 | 1750
135 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
136 | Fire Alarm Installation
137 | Demolition
138 | Allow for removal and handing over of existing analogue
139 | addressable fire alarm system and make good as per the
140 | drawings and the specification | 1 | Item | L/S | 4500 | 1 | Item | 3000 | 3000
141 | Supply and install conduit and wiring with fire resistant cables as
142 | described with all interface units and connections as per the drawings
143 | and the specification. (refer drawing CEC‑SP249‑FA‑01)
144 | Fire alarm interface unit | 6 | No | 2250 | 13500 | 6 | No | 1450 | 8700
145 | Addressabale heat detector with built in isolator base | 3 | No | 1250 | 3750 | 2 | No | 550 | 1100
146 | Analogue Addressabale void detector with built in isolator base with LED
147 | indicator | 4 | No | 900 | 3600 | 4 | No | 950 | 3800
148 | Analogue Addressabale smoke detector with built in isolator base | 2 | No | 800 | 1600
149 | Fire alarm sounder with strobe / flasher | 1 | No | 1000 | 1000 | 1 | No | 850 | 850
150 | Manual call point | 2 | No | 1000 | 2000 | 2 | No | 650 | 1300
151 | Fire alarm control module | 3 | No | 1500 | 4500 | 3 | No | 1400 | 4200
152 | Equipment complete as described
153 | Fire alarm interface unit | 6 | No | 2250 | 13500 | 6 | No | 1450 | 8700
154 | Addressabale heat detector with built in isolator base | 3 | No | 1250 | 3750 | 2 | No | 550 | 1100
155 | Analogue Addressabale void detector with built in isolator base with LED
156 | indicator | 4 | No | 900 | 3600 | 4 | No | 950 | 3800
157 | Analogue Addressabale smoke detector with built in isolator base | 2 | No | 800 | 1600
158 | Fire alarm sounder with strobe / flasher | 1 | No | 1000 | 1000 | 1 | No | 850 | 850
159 | Manual call point | 2 | No | 1000 | 2000 | 2 | No | 650 | 1300
160 | Fire alarm control module | 3 | No | 1500 | 4500 | 3 | No | 1400 | 4200
161 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
162 | Audio video system
163 | Suppy, Installation, testing and commissioning of Audio video system
164 | including containment and wiring for the Public Address System
165 | as per the site conditions (refer dwg CEC‑SP249‑LC‑02)
166 | Cables, wiring and all containment as per the drawings
167 | Emergency push button | 1 | No | 2500 | 2500 | 1 | No | 950 | 950
168 | Wireless headphone | 2 | No | 3000 | 6000 | 2 | No | 1850 | 3700
169 | Equipment complete as described
170 | Emergency push button | 1 | No | 2500 | 2500 | 1 | No | 950 | 950
171 | Wireless headphone | 2 | No | 3000 | 6000 | 2 | No | 1850 | 3700
172 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
173 | CCTV system
174 | Supply and install containment only for CCTV system as per the
175 | drawings and the specification.(this includes all containments but not
176 | limited to cable trays, trunking, conduits, wiring as required)
177 | (equipmemts, devices, sensors and alike by carrefour security team)
178 | (refer dwg CEC‑SP249‑LC‑01)
179 | Cables, wiring and all containment as per the drawings
180 | Fixed dome camera -W/P | 30 | No |  | By others | 30 | No |  | By others
181 | CCTV rack | 1 | No |  | By others | 1 | No |  | By others
182 | Door contact | 5 | No |  | By others | 5 | No |  | By others
183 | Break glass | 2 | No |  | By others | 2 | No |  | By others
184 | Card reader | 2 | No |  | By others | 2 | No |  | By others
185 | Exit push button | 2 | No |  | By others | 2 | No |  | By others
186 | Vibration sensor | 1 | No |  | By others | 1 | No |  | By others
187 | Panic button | 4 | No |  | By others | 4 | No |  | By others
188 | Equipment complete as described
189 | Fixed dome camera -W/P | 30 | No |  | By others | 30 | No |  | By others
190 | CCTV rack | 1 | No |  | By others | 1 | No |  | By others
191 | Door contact | 5 | No |  | By others | 5 | No |  | By others
192 | Break glass | 2 | No |  | By others | 2 | No |  | By others
193 | Card reader | 2 | No |  | By others | 2 | No |  | By others
194 | Exit push button | 2 | No |  | By others | 2 | No |  | By others
195 | Vibration sensor | 1 | No |  | By others | 1 | No |  | By others
196 | Panic button | 4 | No |  | By others | 4 | No |  | By others
197 | Cable trunking
198 | Supply and install cable trunking as per the drawings and the specification
199 | (refer drawing CEC-SP249-LC-01)
200 | 100 x 100mm GI trunking | 14 | m | 120 | 1680
201 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
202 | SUNDRY/GENERAL ITEMS
203 | Allow for permits, fees, inspection. Final meter works, associated
204 | with the Electrical installations by utility and statutory authorities
205 | including Civil defense and required consultants | 1 | Item | 15000 | 7500 | 1 | Item | 8500 | 8500
206 | Allow for testing and commissioning, demonstration, trainings & handover
207 | to operation/store team of all Electrical installationsand pay all charges
208 | (as certified by the Employer) up to the time of practical handing over
209 | including the production of test certificates | 1 | Item | 15000 | 15000 | 1 | Item | 6500 | 6500
210 | Allow for preparing schedule of manufacturers recommended
211 | tools and spare parts for each piece of equipment | 1 | Item | 2500 | 2500 | 1 | Item | 1800 | 1800
212 | CARRIED TO COLLECTION |  |  | AED | 25000 |  |  | AED | 16800
213 | COLLECTION
214 | Electrical Works

## Additional Items
SECTION 1 - FIT-OUT WORKS
BILL NO. 6 - ADDITIONAL ITEMS
|  | pro |  |  |  | R0
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT | QUANTITY | UNIT | RATE | AMOUNT

## Prov sum
BILL NO. 7 -PROVISIONAL SUM
|  | pro |  |  |  | R0
ITEM | DESCRIPTION | QUANTITY | UNIT | RATE | AMOUNT | QUANTITY | UNIT | RATE | AMOUNT

## Sec. 1 SUMMARY
SECTION 1 - SUMMARY
|  | pro |  |  | R0
ITEM | DESCRIPTION |  |  | AED |  |  | AED
| SUMMARY SECTION 1 | PAGE NO. |  |  | PAGE NO.
|  | 1/15 |  |  | 1/15
|  | 1/19 |  |  | 1/19
|  | 1/22 |  |  | 1/22
|  | 1/27 |  |  | 1/27
|  | 1/40 |  |  | 1/40
|  | 1/43 |  |  | 1/43
|  | 1/44 |  |  | 1/44
| CARRIED TO GENERAL SUMMARY |  | AED |  |  | AED

## General Summary
GENERAL SUMMARY
|  |  |  | pro | R0
ITEM | DESCRIPTION |  |  | TOTAL AED | TOTAL AED
GENERAL SUMMARY
Section 1 - Fit Out Works
Amount of Page 1/45
Sub-total
|  | Contingency (this contingency is for the sole use of the |  | 100000 | 100000
Client and may be omitted in part or in its entirety)
| TOTAL TO FORM OF TENDER |  | AED

## Sec. 1 SUMMARY_pro
REMODELLING WORKS TO CARREFOUR FIRST AVENUE, DUBAI, UAE
SECTION 1 - SUMMARY
ITEM | DESCRIPTION |  | unit |  | AED
| SUMMARY SECTION 1 |  | PAGE NO.
|  | BILL NO. 1 - BUILDERS WORK | 1/16 |  | 436085
|  | BILL NO. 2 - PLUMBING WORKS | 1/21 |  | 79420
|  | BILL NO. 3 - FIRE PROTECTION WORKS | 1/24 |  | 35470
|  | BILL NO. 4 - MECHANICAL WORKS | 1/31 |  | 186130
|  | BILL NO. 5 - ELECTRICAL WORKS | 1/42 |  | 229180
|  | BILL NO. 6 - ADDITIONAL ITEMS | 1/45 |  | 67025
|  | BILL NO. 7 -PROVISIONAL SUM | 1/46 |  | 66000
| CARRIED TO GENERAL SUMMARY |  |  | AED | 1099310

## Sec. 1 SUMMARY_R0
REMODELLING WORKS TO CARREFOUR FIRST AVENUE, DUBAI, UAE
SECTION 1 - SUMMARY
ITEM | DESCRIPTION |  |  |  | AED
| SUMMARY SECTION 1 |  | PAGE NO.
|  | BILL NO. 1 - BUILDERS WORK | 1/16 |  | 353965
|  | BILL NO. 2 - PLUMBING WORKS | 1/21 |  | 55034
|  | BILL NO. 3 - FIRE PROTECTION WORKS | 1/24 |  | 17620
|  | BILL NO. 4 - MECHANICAL WORKS | 1/31 |  | 113200
|  | BILL NO. 5 - ELECTRICAL WORKS | 1/42 |  | 213287
|  | BILL NO. 6 - ADDITIONAL ITEMS | 1/45
|  | BILL NO. 7 -PROVISIONAL SUM | 1/46 |  | 50000
| CARRIED TO GENERAL SUMMARY |  |  | AED | 803106

## General Summary_pro
TRN : 100330565100003
BILL OF QUANTITIES
Project : | Fit-out remodeling works at First Avenue, Dubai, UAE |  |  | Date : 08.07.2025
Location : | Dubai, UAE |  |  | Ref : CCID/T-6050-R0/2025
ITEM | DESCRIPTION | Qty | Unit | Unit Rate (AED) | Total Amount (AED)
GENERAL SUMMARY
1 | Section 1 - Fit Out Works | 1 | Item | L/S | 1099310
2 | Contingency (this contingency is for the sole use of the Client and may be omitted in part or in its entirely) | 1 | Item | L/S | 100000
| TOTAL TO FORM OF TENDER |  |  | AED | 1199310
Exclusion:
1 | Supply and installation of IT, CCTV,Access Control
2 | Fit Out Deposit, Drawing Review Fees For the Building
3 | BMS integration / BTU meter
4 | Power Upgradation
5 | Temporary power, water, Toilet Facilities for the labours
Payment Terms:
1 | 20% advance payment against bank guarantee,70% Progressive as per QS certification of work done, 5% release of retention on re-opening of the store to public and against issuance of taking over certificate, 5% release of retention at the end of the defect liability period and against issuance of defect liability certificate.
Project Duration:
1 | Within 60 days, starting 7 days after the Engineer’s notice to commence (inclusive of duration for obtaining of all required approvals &/or certificates from the various authorities) Note : 67 Days from the date of LPO, work permit or advance payment which ever is later
Notes:
1 | All government taxes will be applicable as per authority regulations. (VAT-5% will be charged for all items)
2 | Any additional requirements from the mall /building/DDA/DCD/DEWA management will be a variation
3 | Any provisional sum item will have 15% O/H and 7% Profit on supplier / sub-contractor price
4 | This quotation is valid for 120 days only
5 | Floor tile replacement 50 Sqm considered based on the site instruction during the site visit.

## General Summary_R0
REMODELLING WORKS TO CARREFOUR FIRST AVENUE, DUBAI, UAE
GENERAL SUMMARY
TOTAL AED
ITEM | DESCRIPTION
GENERAL SUMMARY
Section 1 - Fit Out Works
Amount of Page 1/47
|  | Sub-total |  | 803106
|  | Contingency (this contingency is for the sole use of the |  | 100000
Client and may be omitted in part or in its entirety)
| TOTAL TO FORM OF TENDER |  | AED | 903106