## Combined Summary
REMODELLING WORKS TO CARREFOUR FIRST AVENUE, DUBAI, UAE
|  | SECTION 1 - FIT-OUT WORKS | SECTION 1 - FIT-OUT WORKS
|  | Original Offer (None) | Original Offer (None)
1 | Civil Works | 23350 | 11710
| 1 Remove existing blockwall, ref. W02 | 5900 | 2065
| 2 Remove existing blockwall , ref. DW03 | 2700 | 945
| 3 Remove existing sandwich panel wall, ref. W01 | 10875 | 5075
| 4 Remove existing floor tiles, ref. FT-01 | 950 | 950
| 5 Remove existing floor tiles , ref. FT-02 | 1800 | 1800
| 6 Remove existing ceiling finishes, ref.C-01 | 1125 | 875
| 7 Remove single leaf door, ref. D-01 | 5900 | 2065
| 8 Remove single leaf door to replace with new (measured elsewhere) | 2700 | 945
| 9 Allowance for removal of existing kitchen hood and unwanted MEP services | 10875 | 5075
| 10 Allow to modification of existing façade to insall new sliding door in entrance | 950 | 950
| 11 100mm Thick hollow blockwall, upto 4,750mm high ref. W01 | 5900 | 2065
| 12 150mm Thick hollow blockwall,upto 1,500mm high ref. W02 | 2700 | 945
| 13 200mm Thick hollow blockwall, upto 3,750mm high ref. W03 | 10875 | 5075
| 14 100mm Thick hollow blockwall, upto 3,200mm high ref. W04 | 950 | 950
| 15 Single leaf door set size 800 x 2,200mm high overall, ref. MD1 (office). | 5900 | 2065
| 16 Single leaf door set size 1,000 x 2,200mm high overall, ref. MD2 (lockers). | 2700 | 945
| 17 Double leaf double swing door set size 1,600 x 2,200mm high overall, | 10875 | 5075
| 18 Double leaf, sliding door size 1,600 x 3,025mm high | 5900 | 2065
| 19 Glass partition 7,369 x 3,025mm high | 2700 | 945
| 20 Size 300 x 300 x 13mm On floors, ref. FF02 (sales area & bakery) | 5900 | 2065
| 21 100mm High normal skirting, ref. ST-01 (open area) | 2700 | 945
| 22 100mm High coved skirting, ref. ST-02 ( pantry,bakery ) | 10875 | 5075
| 23 Between different floor tiles | 5900 | 2065
| 24 Allowance for replacement and maintenance of damaged floor tiles within the | 2700 | 945
| 25 Fair faced cement plaster to receive paint finishes, ref. PL01, PL02, PL04 | 5900 | 2065
| 26 Sand cement plaster to receive tile finishes, ref. PL03 | 2700 | 945
| 27 On plastered wall, ref. WF-01 (bakery) | 10875 | 5075
| 28 On existing wall, ref. WF01(bakery) | 950 | 950
| 29 Allow for supplying spare tiles for floor, wall & skirting to the | 1800 | 1800
| 30 Horizontal ceiling, ref: CF01 | 5900 | 2065
| 31 Horizontal ceiling, ref: RCF1 | 2700 | 945
| 32 Vertical bulkhead (2,350mm high ) | 10875 | 5075
| 33 To existing walls, ref. WF-02 (pantry,lockers) | 5900 | 2065
| 34 To newly plastered walls, ref. WF-02 (pantry,lockers) | 2700 | 945
| 35 To existing walls, ref. WF-03 (sales area) | 10875 | 5075
| 36 To gypsum board bulkhead,ref.CF-02 | 950 | 950
| 37 To plastered walls, ref. WF-03 (sales area) | 1800 | 1800
| 38 To plastered walls, ref. WF-03 (sales area) | 1125 | 875
| 39 To existing ceiling, ref. CF02 (customer sales area) | 28770 | 31236
| 40 Wall partition upto 1,750mm high ,ref.W03 (sublease shop) | 5900 | 2065
| 41 Side wall protection in heavy duty industrial aluminium chequered sheet | 2700 | 945
| 42 Stainless steel trolley protection 50mm dia upto 900mm, ref. TP | 10875 | 5075
| 43 Stainless steel trolley protection 50mm upto 300mm high dia, ref. TP1 | 950 | 950
| 44 Stainless steel refigeration cabinet protection 50mm upto 300mm high, ref. RP | 1800 | 1800
| 45 Corner protection in heavy duty aluminium powder coated corner angle in RAL | 1125 | 875
| 46 Overall cabinet size -1,700 x 600mm wide | 28770 | 31236
| 47 Allow for permits, fees, inspection associated with the builders | 5900 | 2065
2 | Pl Works | 30670 | 15525
| 1 50mm Diameter waste pipe | 1500 | 450
| 2 82mm Diameter waste pipe | 1680 | 690
| 3 25 mm Diameter | 2860 | 390
| 4 50 mm Diameter | 6250 | 1625
| 5 82 mm Diameter | 12880 | 4370
| 6 Floor trap, Ref. FT | 900 | 1650
| 7 Clean outlet, Ref. CO | 500 | 650
| 8 Floor clean out,ref.FCO | 1500 | 450
| 9 U trap, Ref. UT | 1680 | 690
| 10 Allowance for connecting new drainage system to existing | 2860 | 390
| 11 Allow for checking for leakage and rectification in all cold storage areas | 6250 | 1625
| 12 Allow for all necessary coring with slab scanning through existing | 12880 | 4370
| 13 20mm Diameter cooled water supply pipe | 900 | 1650
| 14 25mm Diameter cooled water supply pipe | 500 | 650
| 15 25mm Diameter | 1500 | 450
| 16 Pantry sink | 1680 | 690
| 17 20mm Diameter IV | 900 | 1650
| 18 25mm Diameter IV | 500 | 650
| 19 Smart water meter with two valves | 1500 | 450
| 20 Water heater, Ref. WH 50L | 1680 | 690
| 21 Hot and cold water mixer points | 2860 | 390
| 22 Hose bib | 6250 | 1625
| 23 Water hammer arrestors | 12880 | 4370
| 24 Bib tap with hose dock | 1600 | 800
| 25 Allow for connecting the water supply pipes to the existing | 0 | 0
| 26 Allow for minor modifications to the existing toilet as per drawings and | 0 | 0
3 | Ff Works | 10070 | 6620
| 1 Allow for cut and removal of existing fire protection system | 500 | 250
| 2 25 mm Dia pipe | 1500 | 360
| 3 32 mm Dia pipe | 1000 | 75
| 4 65 mm Dia pipe | 1920 | 750
| 5 Quick respond 1/2" pendent sprinkler head. 68'C | 1650 | 435
| 6 Allow for connecting new fire protection system with existing fire | 0 | 0
| 7 5kg DCP fire extinguisher | 500 | 250
| 8 5kg CO2 fire extinguisher | 1500 | 360
| 9 Fire hose cabinet,ref FHCS | 1000 | 75
| 10 Allow for mofiication of sprinkler lines and sprinklers as per drawings and | 1920 | 750
| 11 Allow for relocation of existing fire house cabinet with WRP pipe | 1650 | 435
4 | Hvac Works | 79970 | 37150
| 1 25mm diameter | 3120 | 3640
| 2 32mm diameter | 4350 | 5510
| 3 Allow for valve package along chilled water pipes including all fittings, | 300 | 280
| 4 Allow for connecting new chilled water pipes to the existing chilled | 14500 | 8500
| 5 Allow for chemical flushing of chilled water pipes, chilled water | 14500 | 8500
| 6 Allow for checking chilled water pipes for leakages, rectify leakages and | 14500 | 8500
| 7 Supply and return air ducts | 3120 | 3640
| 8 Allow for flexible duct as per the drawings and specification | 4350 | 5510
| 9 Allow for rectification of all bended flexible ducts and air leakages as notes | 300 | 280
| 10 Fan coil unit, 842L/s, Ref.FCU-GF-01 | 14500 | 8500
| 11 Fan coil unit, 842L/s, Ref.FCU-GF-02 | 14500 | 8500
| 12 Fan coil unit, 842L/s, Ref.FCU-GF-03 | 14500 | 8500
| 13 Allow for general maintenance of all existing FCU's | 7500 | 6000
| 14 300 x 300mm Supply air diffuser | 3120 | 3640
| 15 375 x 375mm Supply air diffuser | 4350 | 5510
| 16 300 x 300mm Return air diffuser | 300 | 280
| 17 375 x 375mm Return air diffuser | 14500 | 8500
| 18 500 x 150 Supply air grille | 14500 | 8500
| 19 225 x 225 Supply air grille | 14500 | 8500
| 20 225 x 225 Reaturn air grille | 7500 | 6000
| 21 Decorative Grill with bell mouth | 4800 | 1200
| 22 Allow for connecting new ducts to existing ducts as per the drawings | 0 | 0
| 23 Allow for relocation of existing Fan coil units and air curtains as per drawings | 0 | 0
| 24 Exhaust air ducts | 3120 | 3640
| 25 Allow for flexible duct as per the drawings and specification | 4350 | 5510
| 26 Extract air grille- 400x350mm | 300 | 280
| 27 NRD- Non return damper | 14500 | 8500
| 28 VCD- Volume control damper | 14500 | 8500
| 29 Allow for connecting new duct lines to existing ductlines | 14500 | 8500
| 30 Allow for air balancing of AC and Ventilation system. | 7500 | 6000
| 31 Allow for providing fire stopping sealants on pipes, ducts etc for all | 3120 | 3640
| 32 Allow for testing and commissioning, demonstration, trainings & | 4350 | 5510
5 | Electrical Works | 31500 | 38200
| 1 Allow for any removal, alteration, re-location, etc. of existing power | 5000 | 9000
| 2 Modify existing SMDB-CF 385 KW | 8500 | 8200
| 3 Modify existing DB-L .35.72KW | 3000 | 3000
| 4 Modify existing DB-P1 38.81KW | 3000 | 3000
| 5 Modify existing DB-P2 8KW | 3000 | 3000
| 6 Modify existing DB-AC.34KW | 3000 | 3000
| 7 Modify existing DB-UPS.16.40KW | 3000 | 3000
| 8 DB-REF (NEW) | 6000 | 6500
| 9 Cable to 20A, 2P isolator | 5000 | 9000
| 10 Cable to 20A, 4P isolator | 8500 | 8200
| 11 Cable to 32A, 4P isolator | 3000 | 3000
| 12 Cable to 40A, 4P isolator | 3000 | 3000
| 13 Cable to 63A, 4P isolator | 3000 | 3000
| 14 Cable to 20A, 2P isolator | 3000 | 3000
| 15 Cable to 20A, 4P isolator | 3000 | 3000
| 16 Cable to 32A, 4P isolator | 6000 | 6500
| 17 Cable to 40A, 4P isolator | 2160 | 900
| 18 Cable to 63A, 4P isolator | 2800 | 950
| 19 13A single switched socket (DP) outlet | 5000 | 9000
| 20 13A dual switched socket (DP) outlet | 8500 | 8200
| 21 15A single switched socket (DP) outlet | 3000 | 3000
| 22 Switched fused spur outlet with neon indicator for FCU | 3000 | 3000
| 23 20A flex O/L for water heater Water heater | 3000 | 3000
| 24 20A DP switch with neon indicator & purpose engraved on it | 3000 | 3000
| 25 Allow for removal and handing over of existing lighting and make | 5000 | 9000
| 26 General light points | 8500 | 8200
| 27 Emergency light points | 3000 | 3000
| 28 PIR sensor points | 3000 | 3000
| 29 PIR sensor | 3000 | 3000
| 30 Plug in type ceiling rose | 3000 | 3000
| 31 36W 600 x 600mm LED recessed mounted light, IP 44,4000K | 3000 | 3000
| 32 47W LED light, 1275mm long, IP-67 | 6000 | 6500
| 33 47W LED suspended light , 1275mm long, IP-44 | 1500 | 600
| 34 30W, 4000k, LED trunk light with standard high voltage track system, ref. LH | 1800 | 850
| 35 30W, 4000K, LED trunk light with standard high voltage track system, ref, | 7080 | 5782
| 36 30W, 4000K, LED trunk light with standard high voltage track system, ref, LP | 1600 | 1100
| 37 40W, 4000K, LED track spot light, ref. T1-1 | 1000 | 850
| 38 40W, 3000K, LED track spot light, ref. T2-1 | 2000 | 1300
| 39 28W, 4000K, LED track spot light, ref. T3-1 | 4500 | 4200
| 40 36W 600 x 600mm LED recessed mounted light, IP 44,4000K | 5000 | 9000
| 41 47W LED light, 1275mm long, IP-67 | 8500 | 8200
| 42 47W LED suspended light , 1275mm long, IP-44 | 3000 | 3000
| 43 30W, 4000k, LED trunk light with standard high voltage track system, ref. LH | 3000 | 3000
| 44 30W, 4000K, LED trunk light with standard high voltage track system, ref, | 3000 | 3000
| 45 30W, 4000K, LED trunk light with standard high voltage track system, ref, LP | 3000 | 3000
| 46 40W, 4000K, LED track spot light, ref. T1-1 | 3000 | 3000
| 47 40W, 3000K, LED track spot light, ref. T2-1 | 6000 | 6500
| 48 28W, 4000K, LED track spot light, ref. T3-1 | 1500 | 600
| 49 8W Recessed mounted emergency light, self contained battery, ref. E1 | 5000 | 9000
| 50 8W wall mounted type exit light | 8500 | 8200
| 51 8W wall/ hanging mounted type exit light, double directional | 3000 | 3000
| 52 RJ 45 single outlet | 5000 | 9000
| 53 RJ 45 dual outlet | 8500 | 8200
| 54 WIFI aceess point 2 Nos data outlet | 3000 | 3000
| 55 Data rack cabinet | 3000 | 3000
| 56 RJ 45 single outlet | 3000 | 3000
| 57 RJ 45 dual outlet | 3000 | 3000
| 58 WIFI aceess point 2 Nos data outlet | 6000 | 6500
| 59 Data rack cabinet | 1500 | 600
| 60 100 x 50mm GI trunking | 7080 | 5782
| 61 Allow for removal and handing over of existing analogue | 5000 | 9000
| 62 Fire alarm interface unit | 8500 | 8200
| 63 Addressabale heat detector with built in isolator base | 3000 | 3000
| 64 Analogue Addressabale void detector with built in isolator base with LED | 3000 | 3000
| 65 Analogue Addressabale smoke detector with built in isolator base | 3000 | 3000
| 66 Fire alarm sounder with strobe / flasher | 3000 | 3000
| 67 Manual call point | 3000 | 3000
| 68 Fire alarm control module | 6000 | 6500
| 69 Fire alarm interface unit | 1500 | 600
| 70 Addressabale heat detector with built in isolator base | 1800 | 850
| 71 Analogue Addressabale void detector with built in isolator base with LED | 7080 | 5782
| 72 Analogue Addressabale smoke detector with built in isolator base | 300 | 900
| 73 Fire alarm sounder with strobe / flasher | 150 | 450
| 74 Manual call point | 300 | 900
| 75 Fire alarm control module | 450 | 1650
| 76 Emergency push button | 5000 | 9000
| 77 Wireless headphone | 8500 | 8200
| 78 Emergency push button | 3000 | 3000
| 79 Wireless headphone | 3000 | 3000
| 80 Fixed dome camera -W/P | 5000 | 9000
| 81 CCTV rack | 8500 | 8200
| 82 Door contact | 3000 | 3000
| 83 Break glass | 3000 | 3000
| 84 Card reader | 3000 | 3000
| 85 Exit push button | 3000 | 3000
| 86 Vibration sensor | 3000 | 3000
| 87 Panic button | 6000 | 6500
| 88 Fixed dome camera -W/P | 1500 | 600
| 89 CCTV rack | 1800 | 850
| 90 Door contact | 7080 | 5782
| 91 Break glass | 1600 | 1100
| 92 Card reader | 1000 | 850
| 93 Exit push button | 2000 | 1300
| 94 Vibration sensor | 4500 | 4200
| 95 Panic button | 800 | 520
| 96 100 x 100mm GI trunking | 1680 | 1750
| 97 Allow for testing and commissioning, demonstration, trainings & handover | 8500 | 8200
| 98 Allow for preparing schedule of manufacturers recommended | 3000 | 3000
6 | Additional Items | 67025 | 0
7 | Prov Sum Works | 66000 | 50000
| 1 Allow a Provisional Sum for Supply and installation of Additional | 0 | 0
| 2 Allow for attendance, profit and overheads | 11000 | 0
8 | Sec1Summary Works | 0 | 0
9 | General Summary Works | 100000 | 0
| 1 Contingency (this contingency is for the sole use of the Client and may be omitted in part or in its entirely) | 100000 | 0
| 2 Supply and installation of IT, CCTV,Access Control | 1099310 | 0
| 3 Fit Out Deposit, Drawing Review Fees For the Building | 100000 | 0
| 4 BMS integration / BTU meter | 0 | 0
| 5 Power Upgradation | 0 | 0
| 6 Temporary power, water, Toilet Facilities for the labours | 0 | 0
| 7 Any additional requirements from the mall /building/DDA/DCD/DEWA management will be a variation | 100000 | 0
| 8 Any provisional sum item will have 15% O/H and 7% Profit on supplier / sub-contractor price | 0 | 0
| 9 This quotation is valid for 120 days only | 0 | 0
| 10 Floor tile replacement 50 Sqm considered based on the site instruction during the site visit. | 0 | 0
| TOTAL SUBMITTED TENDERS | 408585 | 159205
High priced
Low priced